## 触发器
Warning | Template OS Linux: /etc/passwd has been changed on {HOST.NAME} /etc/passwd文件改变了 | {Template_MySQL_Monitor:vfs.file.cksum[/etc/passwd].diff(0)}>0 | 检查原因
Information | Template OS Linux: Configured max number of opened files is too low on {HOST.NAME} 内核配置的打开文件数量限制小于1024 | {Template_MySQL_Monitor:kernel.maxfiles.last(0)}<1024 | 检查原因
Information | Template OS Linux: Configured max number of processes is too low on {HOST.NAME} 内核配置的最大线程数小于256 | {Template_MySQL_Monitor:kernel.maxproc.last(0)}<256 | 检查原因
Warning | Template OS Linux: Disk I/O is overloaded on {HOST.NAME} IO等待超过20% | {Template_MySQL_Monitor:system.cpu.util[,iowait].avg(5m)}>20 | 优化
Information | Template OS Linux: Host information was changed on {HOST.NAME} 系统名改变了 | {Template_MySQL_Monitor:system.uname.diff(0)}>0 | 检查原因
Information | Template App Zabbix Agent: Host name of zabbix_agentd was changed on {HOST.NAME} zabbix客户端服务器主机名改变了 | {Template_MySQL_Monitor:agent.hostname.diff(0)}>0 | 检查原因
Information | Template OS Linux: Hostname was changed on {HOST.NAME} 主机名改变了 | {Template_MySQL_Monitor:system.hostname.diff(0)}>0 | 检查原因
Average | Template OS Linux: Lack of available memory on server {HOST.NAME} 可用内存小于2000M | {Template_MySQL_Monitor:vm.memory.size[available].last(0)}<2000M | 检查原因
Warning | Template OS Linux: Lack of free swap space on {HOST.NAME} 可用swap小于50% | {Template_MySQL_Monitor:system.swap.size[,pfree].last(0)}<50 | 检查原因
Average | Mysql created tmp disk talbes rate > 10% on {HOST.NAME} MySQL创建临时磁盘表超过10% | {Template_MySQL_Monitor:mysql.Created_tmp_disk_tables_rate.avg(5m)}>10 | 增大tmp_table_size与max_heap_table_size
High | Mysql error log on {HOST.NAME} | {Template_MySQL_Monitor:mysql.Error_log.strlen()}#0 | 需要检查错误日志内容，解决问题
Average | Mysql innodb buffer pool hit rate < 90% on {HOST.NAME} MySQL InnoDB buffer pool命中率小于90% | {Template_MySQL_Monitor:mysql.Innodb_buffer_pool_hit_rate.avg(5m)}<90 | 增大InnoDB buffer pool size
Disaster | Template App MySQL: MySQL is down on {HOST.NAME} MySQL宕机 | {Template_MySQL_Monitor:mysql.ping.last(0)}=0 | 排错
Average | Mysql key cache rate < 99% on {HOST.NAME} MySQL key 缓存率小于99% | {Template_MySQL_Monitor:mysql.Key_cache_rate.avg(5m)}<99 | 增大key_buffer_size
Average | Mysql max connections used rate < 10% on {HOST.NAME} MySQL 最大连接使用率小于10% | {Template_MySQL_Monitor:mysql.Max_connections_used_rate.avg(5m)}<10 | 减小max_connections
Average | Mysql open files rate > 75% on {HOST.NAME} MySQL打开文件率大于75% | {Template_MySQL_Monitor:mysql.Open_files_rate.avg(5m)}>75 | open_files_limit系统变量不要设置，MySQL会自动根据max_connections和table_open_cache配置。
Average | Mysql slave delay > 60s on {HOST.NAME} MySQL复制延迟大于60s | {Template_MySQL_Monitor:mysql.Slave_delay.last()}>60 | 检查原因
Disaster | Mysql Slave IO State on {HOST.NAME} MySQL复制IO线程报错 | {Template_MySQL_Monitor:mysql.Slave_IO_State.last(0)}=0 | 排错
Disaster | Mysql Slave SQL State on {HOST.NAME} MySQL复制SQL线程报错 | {Template_MySQL_Monitor:mysql.Slave_SQL_State.last(0)}=0 | 排错
Warning | Template OS Linux: Processor load is too high on {HOST.NAME} 线程负载过高，cpu使用率超过30% | {Template_MySQL_Monitor:system.cpu.load[percpu,avg1].avg(5m)}>0.3 | 检查原因
Warning | Template OS Linux: Too many processes on {HOST.NAME} 进程数大于300 | {Template_MySQL_Monitor:proc.num[].avg(5m)}>300 | 检查原因
Warning | Template OS Linux: Too many processes running on {HOST.NAME} 执行中的进程大于30 | {Template_MySQL_Monitor:proc.num[,,run].avg(5m)}>30 | 检查原因
Information | Template App Zabbix Agent: Version of zabbix_agent(d) was changed on {HOST.NAME} zabbix agent版本改变 | {Template_MySQL_Monitor:agent.version.diff(0)}>0 | 检查原因
High | Template App Zabbix Agent: Zabbix agent on {HOST.NAME} is unreachable for 5 minites zabbix agent 宕掉5分钟 | {Template_MySQL_Monitor:agent.ping.nodata(5m)}=1 | 检查原因
Information | Template OS Linux: {HOST.NAME} has just been restarted 服务器重启了 | {Template_MySQL_Monitor:system.uptime.change(0)}<0 | 检查原因
Average | Mysql threads cache hit rate < 90% on {HOST.NAME} MySQL线程缓存命中率小于90% | {Template_MySQL_Monitor:mysql.Threads_cache_hit_rate.avg(5m)}<90 | 增大thread_cache_size
Average | Mysql table open cache used rate > 30% on {HOST.NAME} MySQL 打开表缓存使用率大于30% | {Template_MySQL_Monitor:mysql.Table_open_cache_used_rate.avg(5m)}>30 | 增大table_open_cache
Warning | Mounted filesystem discovery: Free disk space is less than 50% on volume /mydata /mydata可用空间小于50% | {120.26.103.172:vfs.fs.size[/mydata,pfree].last(0)}<50 | 检查原因
Warning | Mounted filesystem discovery: Free disk space is less than 50% on volume / /可用空间小于50% | {120.26.103.172:vfs.fs.size[/,pfree].last(0)}<50 | 检查原因
Warning | Mounted filesystem discovery: Free inodes is less than 50% on volume /mydata /mydata可用节点小于50% | {120.26.103.172:vfs.fs.inode[/mydata,pfree].last(0)}<50 | 检查原因
Warning | Mounted filesystem discovery: Free inodes is less than 50% on volume / /可用节点小于50% | {120.26.103.172:vfs.fs.inode[/,pfree].last(0)}<50 | 检查原因
Average | Template_MySQL_Monitor: Mysql threads account > 100 on {HOST.NAME} 账户线程超过100 | {120.26.103.172:mysql.Threads_account.avg(5m)}>100 | 检查原因
Average | Template_MySQL_Monitor: Mysql threads connected > 400 on {HOST.NAME} 总线程超过400 | {120.26.103.172:mysql.status[Threads_connected].avg(5m)}>400 | 检查原因

## 公式
# Key
Key_cache_rate,(key_read_requests - key_reads)/key_read_requests
Key_blocks_used_rate,key_blocks_used/(key_blocks_used + key_blocks_unused)
# Innodb
Innodb_buffer_pool_hit_rate,1-(innodb_buffer_pool_reads/innodb_buffer_pool_read_requests)
Innodb_buffer_pool_use_rate,Innodb_buffer_pool_pages_data/Innodb_buffer_pool_pages_total
#Open
Open_tables_rate,open_tables/(open_tables+opened_tables)
Open_files_rate,open_files/open_files_limit
# Thread
Threads_cache_hit_rate,(connections-threads_created)/connections
# Qcache
Qcache_hits_rate,(Qcache_hits-Qcache_inserts)/Qcache_hits
# Table
Table_open_cache_used_rate,open_tables/(open_tables+table_open_cache)
Table_locks_rate, table_locks_waited/(Table_locks_immediate+table_locks_waited)
# Created_tmp
Created_tmp_disk_tables_rate,created_tmp_disk_tables/created_tmp_tables
# Max_connections
Max_connections_used_rate,Max_used_connections/max_connections

## 变量解释
# Key
key_buffer_size | key buffer大小
key_reads | 从磁盘到MyISAM Key缓存中物理读一个Key块的次数
Key_read_requests | 从MyISAM Key缓存中读一个Key块的请求数
# Key_blocks
Key_blocks_used | MyISAM key缓存中使用的块数，这是一个水位值，即使用过的最大的块数。
Key_blocks_unused | MyISAM key缓存中未使用的块数，使用中的key缓存=1 - ((Key_blocks_unused * key_cache_block_size) / key_buffer_size)
# Innodb
Innodb_buffer_pool_size | innodb buffer pool大小
Innodb_log_file_size | innodb log 文件大小
Innodb_log_buffer_size | 日志文件缓存，默认8M，如果有大的事物，建议增大该值。
# Open
Table_open_cache | 打开表缓存大小
Open_tables | 打开的表数
Opened_tables | 打开的表数的累积值
# Thread
Thread_cache_size | 线程缓存大小
Threads_cached | 线程池中线程的数量
Threads_connected | 当前打开的连接数
Threads_created | 处理连接所创建的线程数，如果很大，需要增大Thread_cache_size
Threads_running | 非sleeping的线程数
# Qcache
Qcache_free_blocks | 查询缓存中空闲的块数
Qcache_free_memory | 查询缓存中空闲的内存数
Qcache_hits | 查询缓存命中数
Qcache_inserts | 增加到查询缓存的查询数
Qcache_lowmem_prunes | 由于低内存，从查询缓存中删除的查询数
Qcache_not_cached | 没有缓存的查询数
Qcache_queries_in_cache | 缓存中的查询数
Qcache_total_blocks | 查询缓存中的总块数
# Query_cache
Query_cache_limit | 查询缓存的结果集大小限制，默认1M。
Query_cache_min_res_unit | 查询缓存的块的最小值，默认4K。
Query_cache_size | 查询缓存大小，默认1M，最少40K。
# Sort
Sort_merge_passes | 排序时的合并次数，如果这个值很大，需要增大sort_buffer_size系统变量。
Sort_range | 范围排序次数
Sort_rows | 排序行数
Sort_scan | 扫描表排序次数
# Handler_read
Handler_read_first | 索引中第一个条目被读的次数。如果该值很高，表名服务器做了大量的全索引扫描。例如：SELECT col1 FROM foo, col1是索引。
Handler_read_key | 基于索引去读一个行的请求数。该值很高表明表的索引建的很好。
Handler_read_next | 在索引顺序中读下一行的请求数。该值增高说明你在查询一个索引字段带有范围条件或者你在扫描索引。
Handler_read_prev | 在索引顺序中读上一行的请求数。这种读的方法主要用来优化ORDER BY … DESC
Handler_read_rnd | 基于一个固定位置去读一行的请求数。该值高说明你做了很多需要排序结果集的查询。你可能有很多全表扫描或者未使用索引的连接查询。
Handler_read_rnd_next | 在数据文件中读下一行的请求数。该值高说明你做了很多全表扫描。需要优化SQL。
# Open_files
Open_files | 打开文件数
Open_files_limit | 打开文件限制数
# Created_tmp
Created_tmp_disk_tables | 创建在磁盘上的临时表数
Created_tmp_tables | 创建的临时表数
# Max_connections
Max_connections | 最大连接限制数
Max_used_connections | 最大的连接数，水位值，即曾经最大的连接数。
# locks
Table_locks_immediate | 可以被立即授权表所的请求数
Table_locks_waited | 需要等待被授权表所的请求数，如果这个值很大，说明性能出现问题，需要优化查询或者拆分表。